## Slide 2
Funny story about missed veins

## Slide 3
This is why we chose Ultrasound – To improve guidance – Show murky image of ultrasound

## Slide 4
Important practical applications of ultrasound that could be more serious than drawing blood
Central venous injection
Parathyroid Injection

## Slide 5
Not just a hunch. We know that research interest exists as is evident from the following papers:
Paper 1
Paper 2
Interesting result 3 etc. etc.

## Slide 6
What are the man benefits of Ultrasound?
- Fast, inexpensive, universal etc. etc. etc.

## Slide 7
But why US? Tracking is better with a sensor no?
Not if you want to keep the surgical workflow the same. Perceptual docking

## Slide 8
There are, of course, a number of constraints that we’re dealing with here
Time
Size of Ultrasound probe
Subjective annotations

## Slide 9
MODEL:
Water (Flesh)
Needle (Tool)
Cup (Boundaries)
We chose this model because of water’s acoustic impedance. Impedance matching

## Slide 10
We need some data, of course. This is how we collected it.
- Show video of data collection (muted) or pictures of testing with US

## Slide 11
We have only a limited sample of pictures, so this is how we increased our dataset, because more data increases the possibility of creating a robust detection system.
Need training and testing data 70/30

## Slide 12
What did we do with the data?
Placed it in a CNN. WHY?
Because we want this solution to be practical, valuable. CNN can be trained, and can identify new test data cases.

## Slide 13
What does our CNN look like?
Flow diagram of the CNN. Explain what is it in greater detail and reiterate importance

## Slide 14
What does our CNN look like?
Flow diagram of the CNN. Explain what is it in greater detail and reiterate importance

## Slide 15
These are the results.
95% accuracy with the annotated testing data in water.
Really clean image, so not practical. How about a phantom?

## Slide 16
These are the results.
95.4% accuracy with the annotated testing data in water.
Really clean image, so not practical. How about a phantom?

## Slide 17
Used the trained data to identify the needle in a phantom. How did it do?
Here are some pictures of our phantom and the results

## Slide 18
How can we make this project better?
Larger dataset
Larger ultrasound probe
Augmenting our training technique (as shown in this paper)
Real-time image processing.

## Slide 19
So just to summarise:
Needle detection and guidance is useful, but conventionally has issues that can be approved on with engineering.
We propose automated needle detecting using a CNN.
These are our results. This is where we can improve.